Standards List

This compilation collects the most important standards in all technical and non-technical areas of e-health.

Here follows a brief explanation of the fields associated to each standard:

Url: gives an URL where the standard is available, for free if possible.

Based On: lists other existing standards or recommendations, the standard is related to or based on.

Category: the proper list of official terms is still under discussion, but this field intends to show the medical environment in which the standard is used.

Others: other interesting and latest information.

Relevance: in a range from 0 to 100, the relevance is a subjective parameter which designates the importance of the standard in relation to e-Health.

Other fields, like name, brief name, organization, description or used in need no further explanation.

| Name | Digital Imaging and Communications in Medicine |
| --- | --- |
| Brief name | DICOM 3.0 2004 |
| Organization | NEMA |
| Url | http://medical.nema.org/dicom/2004.html |
| Based on | TCP/IP, JPEG, PKCS1, X.509, 3DES CBC, SHA, TLS, SSL, S/MIME, L2TP, PPTP |
| Descriptions | The DICOM (Digital Imaging and Communications in Medicine) Standard provides for communication of bio-medical diagnostic and therapeutic information in disciplines that use digital images and associated data. The goals of DICOM are to achieve compatibility and to improve workflow efficiency between imaging systems and other information systems in healthcare environments worldwide. |
| Used_in | Cardiology, Clinical Trials, Computed Tomography, Dermatology, Dentistry, Endoscopy, Image Archives, Magnetic Resonance Imaging, Mammography, Nuclear Medicine, Ophthalmology, Positron Emission Tomography, Radiation Therapy, Tele-diagnostics, Ultrasonic Imaging, Veterinary Medicine, etc. |
| Category | Medical imaging facilities |
| Others | DICOM has added waveform support to allow EEG and ECG interchanges. Website of Reference: http://www.dclunie.com. DICOM also provides for Web Access to DICOM Persistent Objects (WADO). |
| Relevance | 100 |

| Name | VITAL |
| --- | --- |
| Brief name | ENV 13734 |
| Organization | CEN |
| Url | http://standards.ieee.org/announcements/vital.html |
| Based on | ENV13734, ENV13735 |
| Descriptions | VITAL specifies a common representation of vital signs information. It is non-device dependent. |
| Used_in | Medical device communication |
| Category | Multimedia information Exchange |
| Others | It was specially created for real time services. Also available at: http://www.cs.tut.fi/~varri/vital.html |
| Relevance | 100 |

| Name | MEDICOM |
| --- | --- |
| Brief name | EN 12052 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.100.htm |
| Based on | ENV 12052, ENV12623, ENV12922-1 |
| Descriptions | This standard is the European contribution to the well-known DICOM. |
| Used_in | Imaging communication (see DICOM) |
| Category | Medical Imaging |
| Others | EN 12052 supersede the former ENV 12052, ENV12623 and ENV12922-1. |
| Relevance | 100 |

| Name | Computer-assisted electrocardiography |
| --- | --- |
| Brief name | ENV 1064 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.040.50.htm |
| Based on |  |
| Descriptions | This standard has been taken up worldwide, not only by European countries |
| Used_in | ECG Machines |
| Category | Electrocardiography |
| Others | SCP-ECG (Standard Communication Protocol Computer Assisted Electrocardiography) Partially available at: http://www.ramit.be/scripts/imiawg16/1standard.cfm?ID=25 |
| Relevance | 100 |

| Name | Interoperability of healthcare multimedia report systems |
| --- | --- |
| Brief name | CR 14300 |
| Organization | CEN |
| Url | http://www.tc251wgiv.nhs.uk/pages/pdf/pt34fwda.pdf |
| Based on |  |
| Descriptions | Provides interoperability of healthcare multimedia report systems |
| Used_in |  |
| Category | Health Informatics |
| Others | It is not mandatory. It is a recommendation |
| Relevance | 100 |

| Name | HL7 Version 2.5 |
| --- | --- |
| Brief name | HL7 v2.XML |
| Organization | ANSI |
| Url | https://www.hl7.org/library/bookstore/ |
| Based on | HL7 Version 2.4 |
| Descriptions | Old HL7 standards were focused on medical information exchange. With the addition of XML support, multimedia capabilities are now reliable |
| Used_in | Medical information Exchange |
| Category | Messaging |
| Others | Better support for imaging has been introduced in version 2.5 compared with the previous one. |
| Relevance | 90 |

| Name | Profiles for medical image interchange |
| --- | --- |
| Brief name | CR 12069 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on |  |
| Descriptions | Provides the set of profiles for a given user scenario. Defines greyscale, colour, volumetric and time sequences. |
| Used_in |  |
| Category | Imaging information exchange |
| Others | CR 12069 is not a mandatory standard, it is a report. |
| Relevance | 100 |

| Name | Algorithm for Digital Signature Services in Health Care |
| --- | --- |
| Brief name | ENV 12388 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on | RSA |
| Descriptions | Defines the algorithm used for digital signatures in medicine information exchange. |
| Used_in | SEMRIC project |
| Category | Digital Signature |
| Others | It is required to achieve legal acceptability of the information exchange. UNE-ENV 12388 is the Spanish equivalent standard. SEMRIC: Secure Medical Record Information Communication. |
| Relevance | 90 |

| Name | Safety and Security Related Software Quality Standards for Healthcare (SSQS) |
| --- | --- |
| Brief name | UNE-CR 13694 |
| Organization | AENOR |
| Url | http://www.cenorm.be/catweb/35.240.80.htm |
| Based on | CR 13694 |
| Descriptions | Proposes several quality norms related to security and protection in e-Health software. |
| Used_in |  |
| Category | Software securization |
| Others | It associates the system type with the appropiate security measures. |
| Relevance | 90 |

| Name | Security for healthcare communication |
| --- | --- |
| Brief name | ENV 13608 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/01.040.35.htm |
| Based on |  |
| Descriptions | Defines concepts for secure systems. Besides that, secure data objects and secure data channels are adressed. |
| Used_in |  |
| Category | Communication security |
| Others |  |
| Relevance | 90 |

| Name | Management and security of authentication by passwords |
| --- | --- |
| Brief name | ENV 12251 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/35.240.80.htm |
| Based on |  |
| Descriptions | It addresses the management and security of authentication by passwords. |
| Used_in |  |
| Category | Secure User Identifications |
| Others | Sometimes is mandatory to fulfill legal issues. |
| Relevance | 90 |

| Name | Standard Practice for Healthcare Certificate Policy |
| --- | --- |
| Brief name | E2212-02ª |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E2212.htm?E+mystore |
| Based on | X.509 |
| Descriptions | Adresses the policy for digital certificates that support the authentication, authorization, confidentiality, integrity, and nonrepudiation requirements of persons and organizations that electronically create or transact health information. |
| Used_in |  |
| Category | Security certificates |
| Others | There are 3 types of certificate: one for computerized entities, one for individual person and the last one for clinical individuals. |
| Relevance | 90 |

| Name | Standard Specification for Healthcare Document Formats |
| --- | --- |
| Brief name | E2184-02 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E2184.htm?E+mystore |
| Based on |  |
| Descriptions | Defines requirements for the headings, arrangement, and appearance of sections and subsections when used within healthcare documents. |
| Used_in |  |
| Category | Healthcare document format |
| Others | Use of this specification in conjunction with XML DTDs and the EHR (Electronic Health Records) would further enhance efficiency in time and cost. |
| Relevance | 50 |

| Name | Standard Specification for Transferring Digital Waveform Data Between Independent Computer Systems |
| --- | --- |
| Brief name | E1713-95 |
| Organization | ASTM |
| Url |  |
| Based on |  |
| Descriptions | This standard defines transferring digital waveform data between independent computer systems. |
| Used_in |  |
| Category | Digital Waveform transmission |
| Others | It is also an ANSI approved standard. This standard is currently withdrawn!! |
| Relevance | 100 |

| Name | Standard Guide for Properties of Electronic Health Records and Record Systems |
| --- | --- |
| Brief name | E1762-95 (2003) |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1762.htm?E+mystore |
| Based on | RSA, DSA |
| Descriptions | The standard defines a document structure for use by electronic signature mechanisms and the characteristics of the electronic signature itself. |
| Used_in |  |
| Category | Authentication of information |
| Others |  |
| Relevance | 90 |

| Name | Interoperability of Telehealth Systems and Networks |
| --- | --- |
| Brief name | DTR 16056 |
| Organization | ISO |
| Url |  |
| Based on |  |
| Descriptions | Adresses the interoperability of telehealth systems and networks. |
| Used_in |  |
| Category | Network interoperability |
| Others | Part 2 of the standard is related to real-time e-Health systems. |
| Relevance | 90 |

| Name | Ergonomics requirements for office work with visual display terminals |
| --- | --- |
| Brief name | ISO 9241 |
| Organization | ISO |
| Url | http://www.iso.ch/iso/en/CatalogueListPage.CatalogueList?ICS1=13&ICS2=180 |
| Based on |  |
| Descriptions | Ergonomics requirements for office work with visual display terminals. |
| Used_in | Visual display terminals |
| Category | Ergonomics and usability |
| Others | Its main purpose is to set up a user-friendly enviroment for general applications (including e-Health) |
| Relevance | 80 |

| Name | Medical Data Interchange: HIS/RIS-PACS and HIS/RIS |
| --- | --- |
| Brief name | ENV 13939 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/35.240.80.htm |
| Based on |  |
| Descriptions | Describes the interchange of sanitary data. HIS/RIS-PACS amd HIS/RIS. |
| Used_in |  |
| Category | Health informatics |
| Others |  |
| Relevance | 80 |

| Name | 63 FR 64998 |
| --- | --- |
| Brief name |  |
| Organization | FDA |
| Url | http://www.fda.gov/cdrh/devadvice/313.html |
| Based on |  |
| Descriptions | Proposes a classification for five types of medical image management devices. |
| Used_in |  |
| Category | Device Classification |
| Others | FDA: US Food and Drugs Administration |
| Relevance | 70 |

| Name | Medical record, image, text - information exchange |
| --- | --- |
| Brief name | MERIT-9 |
| Organization | JAMI |
| Url |  |
| Based on | XML |
| Descriptions | It is related to the information exchange between different medical providers. |
| Used_in |  |
| Category | Image and text exchange |
| Others | The previous version used SGML. It is a Japanese standard. |
| Relevance | 90 |

| Name | MDS A 0001 - 0017 |
| --- | --- |
| Brief name |  |
| Organization | JAHIS |
| Url |  |
| Based on |  |
| Descriptions | Standard for electronic filing of medical images with security, compatibility and reproducibility. |
| Used_in |  |
| Category | Medical Imaging |
| Others | It is a Japanese standard. |
| Relevance | 90 |

| Name | Specification for transferring neurophysiologic data between independent computer systems |
| --- | --- |
| Brief name | E1467 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1384.htm?E+mystore |
| Based on |  |
| Descriptions | Defines how vital signals such as EEG should be stored. |
| Used_in |  |
| Category | Vital signals storage |
| Others | It has not been used in favour of VITAL. |
| Relevance | 90 |

| Name | Interoperability of patient connected medical devices |
| --- | --- |
| Brief name | ENV 13735 |
| Organization | CEN |
| Url | http://www.tc251wgiv.nhs.uk/pages/pdf/pt35fwd3.pdf |
| Based on | ENV 13734 |
| Descriptions | The standard sets up the basis of interoperability among patient connected devices taking account of VITAL standard to achive device and signal interoperability. |
| Used_in | Medical devices |
| Category | Device interoperability |
| Others | This standard and VITAL standard are designed to work together. Each one specifies a level of interoperability. |
| Relevance | 100 |

| Name | Messages for the exchange of information on medicine prescriptions |
| --- | --- |
| Brief name | ENV 13607 |
| Organization | CEN |
| Url | http://www.medis.or.jp/2_kaihatu/iso/iso_tc215_wg5/data/part7_f_en13607.pdf |
| Based on |  |
| Descriptions | Specifies a message,called prescription dispensing report message, containing information about prescription items that is sent from the dispensing agent to any other party that is legally permitted to receive such message. |
| Used_in |  |
| Category | Information Exchange |
| Others | Also available at: http://www.cenorm.be/catweb/35.240.80.htm |
| Relevance | 50 |

| Name | Electronic healthcare record communication |
| --- | --- |
| Brief name | ENV 13606 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/35.240.80.htm |
| Based on |  |
| Descriptions | Purposes a scheme to define a healthcare record in order the information is recognizable and understandable in different applications. |
| Used_in | EHR Products |
| Category | Healthcare record |
| Others | It is divided in four parts. Part 1: Extended architecture Part 2: Domain term list Part 3: Distribution rules Part 4: Messages for the exchange of information |
| Relevance | 70 |

| Name | Healthcare Information System Architecture (HISA) |
| --- | --- |
| Brief name | ENV 12967 |
| Organization | CEN |
| Url | http://www.ehto.org/ikb/standards/centc251/hisa/toc.html |
| Based on |  |
| Descriptions | Describes the Healthcare Information System Architecture (HISA), which is a description of the middleware layer used in healthcare. |
| Used_in | Implementations in Denmark |
| Category | Medical informatics |
| Others | It is described with diagrams. |
| Relevance | 90 |

| Name | Messages for the exchange of healthcare administrative information |
| --- | --- |
| Brief name | ENV 12612 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on |  |
| Descriptions | Specifies messages for the exchange of healthcare administrative information to provide safe, efficient and effective healthcare delivery within hospitals and in primary care. |
| Used_in |  |
| Category | Information Exchange |
| Others | The messages do not cover the reimbursement nor the admission, discharge and transfer processes themselves, but make such processes much easier because of the overall availability of registration and identification data. More Info at: http://www.ramit.be/ |
| Relevance | 70 |

| Name | Registration of information objects used for EDI in healthcare |
| --- | --- |
| Brief name | ENV 12537 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/35.240.70.htm |
| Based on |  |
| Descriptions | Defines the registration of information objects used for EDI in healthcare for the purpose of information interchange related to healthcare. |
| Used_in |  |
| Category | Information registration |
| Others | It has two parts. Part 1: The Register Part 2: Procedures for the registration of information objects used for electronic data interchange (EDI) in healthcare |
| Relevance | 50 |

| Name | Healthcare Information Framework (HIF) |
| --- | --- |
| Brief name | ENV 12443 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on |  |
| Descriptions | Creates a basic framework to guide healthcare informatics developers. It is a first step in standardising the architectures that will support the latest approaches to the delivery of computer systems such as are required to provide the global information |
| Used_in |  |
| Category | Medical informatics |
| Others |  |
| Relevance | 70 |

| Name | Identification, administrative, and common clinical data structure for ICDs |
| --- | --- |
| Brief name | ENV 12018 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on |  |
| Descriptions | This standard proposes a standardised framework for data structures used with respect to Intermittently Connected Devices (ICDs). |
| Used_in |  |
| Category | Clinical data structure |
| Others | An ICD is a device that stores and transmits person related data in such a fashion that the originator of the information may not receive confirmation of receipt by the recipient. Overview info available at: http://www.ramit.be/scripts/imiawg16/1standard |
| Relevance | 70 |

| Name | Medical Informatics Vocabulary (MIVoc) |
| --- | --- |
| Brief name | ENV 12017 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on |  |
| Descriptions | Defines the Medical Informatics Vocabulary, which is a foundation for the development of a vocabulary of terms used in Medical Informatics. |
| Used_in |  |
| Category | Medical informatics |
| Others |  |
| Relevance | 50 |

| Name | Messages for exchange of laboratory information |
| --- | --- |
| Brief name | ENV 1613 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on |  |
| Descriptions | Provides a complete implementable specification of the laboratory messages by implementation guidelines to supplement the message difinitios. It also provides comprehensive data and structured tables. |
| Used_in |  |
| Category | Mediacal informatics |
| Others | These coding schemes are commonly used to provide precise and unambiguous representation of the data |
| Relevance | 50 |

| Name | Public key infrastructure |
| --- | --- |
| Brief name | ISO 17090 |
| Organization | ISO |
| Url | http://www.iso.ch/iso/en/CatalogueListPage.CatalogueList |
| Based on |  |
| Descriptions | Defines the basic concepts of a healthcare public key infrastructure (PKI) and provides a scheme of interoperability requirements to establish a PKI enabled secure communication of health information. |
| Used_in | Electronic identification, security of Public Administration |
| Category | Health informatics |
| Others | It has three parts. Part 1: Framework and overview. Part 2: Certificate profile. Part 3: Policy management of certification authority. First Part working draft is freely available at: http://www.medis.or.jp/iso/wg4doclist/wg4-n78_pkipart1v4.pdf |
| Relevance | 90 |

| Name | Clinical analyser interfaces to laboratory information systems |
| --- | --- |
| Brief name | ISO 18812 |
| Organization | ISO |
| Url | http://www.cenorm.be/catweb/35.240.80.htm |
| Based on |  |
| Descriptions | Specifies general messages for electronic information exchange between analytical instruments and laboratory information systems within a clinical laboratory. |
| Used_in |  |
| Category | Health informatics |
| Others | Covers the specification of messages used by communicating parties and the syntax in which they are communicated. It does not cover the transport mechanisms used for the message interchange. |
| Relevance | 70 |

| Name | Point-of-care medical device communication |
| --- | --- |
| Brief name | IEEE 1073.5.x |
| Organization | IEEE |
| Url |  |
| Based on |  |
| Descriptions | Efforts are underway to add standards for enabling internetworking of medical devices across a LAN/WAN. |
| Used_in |  |
| Category | Health informatics |
| Others | It is not a standard, it is a serie of standards that will be published soon. More info available at: http://www.ieee1073.org/standards/standards-at-a-glance/standardsataglance.html |
| Relevance | 90 |

| Name | Point-of-care medical device communication – Application profile – Optional package, remote control |
| --- | --- |
| Brief name | ISO 11073-20301 |
| Organization | ISO |
| Url |  |
| Based on |  |
| Descriptions | Describes an optional application profile optional packages for remote control. |
| Used_in |  |
| Category | Health Informatics |
| Others | Some functions are similar or complement the european standard ENV13735. |
| Relevance | 90 |

| Name | Point-of-care medical device communication – Application Profiles – MIB Elements |
| --- | --- |
| Brief name | IEEE 1073.2.1.2 |
| Organization | IEEE |
| Url |  |
| Based on |  |
| Descriptions | MIB Element definitions from the revised DIM standard |
| Used_in |  |
| Category | Health informatics |
| Others | More information at: http://www.ieee1073.org/standards/standards-at-a-glance/standardsataglance.html |
| Relevance | 70 |

| Name | Medical Device Communications – Transport Profile – IrDA Based – Cable Connected |
| --- | --- |
| Brief name | IEEE 1073.3.2 |
| Organization | IEEE |
| Url | http://standards.ieee.org/catalog/olis/meddev.html |
| Based on |  |
| Descriptions | Describes the IrDA-based, RS-232, cable connected transport beetwen devices connectivity. It also set up the basis for firmware upgrades for medical devices. |
| Used_in | Medical devices |
| Category | Health informatics |
| Others | This new transport profile offers a key advantage in fostering implementation and adoption of the IEEE 1073 Medical Information Bus Standards. More info at: http://www.ieee1073.org/standards/11073-30200/11073-30200.html |
| Relevance | 70 |

| Name | Categorical structures of systems of concepts - Model for representation of semantics |
| --- | --- |
| Brief name | ENV 12264 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on |  |
| Descriptions | The standard provides the vocabulary and the guidelines to describe the categorial structure of a concept system: the structure consists in practice of a list of involved categories (with reference to the available authoritative sources for detailed value |
| Used_in |  |
| Category | Categorial structure |
| Others | Medical Informatics deals with a great number of large, overlapping coding systems that are facing each other and conflicting in the coming Integrated Healthcare Information Environment. This standard tries to solve these conflicts. |
| Relevance | 70 |

| Name | Time Standards for Healthcare Specific Problems |
| --- | --- |
| Brief name | ENV 12381 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.020.htm |
| Based on |  |
| Descriptions | Provides a set of basic entities, with precisely defined properties and interrelationships among them, that is sufficient to allow an unambiguous representation of time-related expressions. |
| Used_in |  |
| Category | Time presentation |
| Others |  |
| Relevance | 90 |

| Name | Messages for Patient Referral and Discharge |
| --- | --- |
| Brief name | ENV 12538 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/35.240.70.htm |
| Based on |  |
| Descriptions | It refers to referral and discharge but also covers the request for specialist services and the reports by the specialist service provider, including clinic letters and discharge summaries. |
| Used_in |  |
| Category | Health informatics |
| Others | Graphical or image information that forms part of a request for or report of a specialist healthcare service is excluded. |
| Relevance | 60 |

| Name | Request and Report Messages for Diagnostic Services Departments |
| --- | --- |
| Brief name | ENV 12539 |
| Organization | CEN |
| Url | http://www.cenorm.be/catweb/11.040.50.htm |
| Based on | ENV 1613 |
| Descriptions | It provides the description of the scope of the messages and its functionality and implementation guidelines for different scenarios. |
| Used_in | X-rays, CAT, NMR, ultrasound scans, ECGs, lung-function tests, anatomic pathology and nuclear medicine |
| Category | Health informatics |
| Others | The scope is limited to character-based messages, therefore is not related to multimedia. |
| Relevance | 50 |

| Name | Standard guide for description of reservation/registration-admission, discharge, transfer systems for Electronic Health Record (EHR) systems |
| --- | --- |
| Brief name | E1239-00 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1239.htm? L+mystore+qviz5936+1085659001 |
| Based on |  |
| Descriptions | This guide identifies the minimum information capabilities needed by an ambulatory care system or a resident facility R-ADT system. |
| Used_in |  |
| Category | Electronic Health Record |
| Others |  |
| Relevance | 80 |

| Name | Standard guide for content and structure of the Electronic Health Record (EHR) |
| --- | --- |
| Brief name | E1384-02ª |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1384.htm?E+mystore |
| Based on |  |
| Descriptions | This guide covers all types of healthcare services, including those given in acute care hospitals, nursing homes, skilled nursing facilities, home healthcare, and specialty care environments as well as ambulatory care. |
| Used_in |  |
| Category | Electronic Health Record |
| Others | They apply both to short term contacts (for example, emergency rooms and emergency medical service units) and long term contacts (primary care physicians with long term patients). |
| Relevance | 80 |

| Name | Standard guide for view of emergency medical care in the computerized-based patient record |
| --- | --- |
| Brief name | E1744-98 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1744.htm?E+mystore |
| Based on |  |
| Descriptions | It addresses the identification of the information that is necessary to document emergency medical care in a computerized patient record that is part of a paperless patient record system. |
| Used_in |  |
| Category | Emergency care |
| Others |  |
| Relevance | 70 |

| Name | An object-oriented model for registration, admitting, discharge, and transfer functions in computer-based patient record systems |
| --- | --- |
| Brief name | E1715-01 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1715.htm?E+mystore |
| Based on |  |
| Descriptions | Details the objects that make up the reservation, registration, admitting, discharge, and transfer functional domain of the computer-based record of care. |
| Used_in |  |
| Category | Patient record systems |
| Others | It is intended to amplify guide E1239 with an object-oriented focus. |
| Relevance | 80 |

| Name | Standard guide for properties of a Universal Healthcare Identifier |
| --- | --- |
| Brief name | E1714-00 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1714.htm?E+mystore |
| Based on |  |
| Descriptions | This guide covers a set of requirements outlining the properties of a national system creating a universal health care identifier (UHID). |
| Used_in |  |
| Category | Healthcare Identifier |
| Others | Use of the UHID is expected to be limited to the population of the United States. |
| Relevance | 90 |

| Name | Specification for management of the confidentiality and security of dictation, transcription, and transcribed health records |
| --- | --- |
| Brief name | E1902-02 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1902.htm?E+mystore |
| Based on |  |
| Descriptions | It describes certain steps that shall be taken by those involved in the processes of dictation and transcription of healthcare documentation. |
| Used_in |  |
| Category | Security Protection |
| Others | It also seeks to identify certain dictation and transcription practices that may increase the risks of infringing on privacy and violating security of healthcare documentation. |
| Relevance | 80 |

| Name | Specification for relationship between a person and a supplier of an electronic personal health record |
| --- | --- |
| Brief name | E2211-02 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E2211.htm?E+mystore |
| Based on |  |
| Descriptions | This specification covers the relationship between a consumer, organization or custodian and a managing organization (such as a web site or other organization). |
| Used_in |  |
| Category |  |
| Others | This specification will not address personal health records (PCHR) that are created and managed by patients on paper records. |
| Relevance | 80 |

| Name | Specification for transferring digital voice data between independent digital dictation systems and workstations |
| --- | --- |
| Brief name | E2185-01 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E2185.htm?E+mystore |
| Based on |  |
| Descriptions | Describes the format and content of digitally recorded voice data files. The object is to enable transfer between independent digital dictation systems regardless of manufacturer. |
| Used_in |  |
| Category | Digital voice transferring |
| Others |  |
| Relevance | 80 |

| Name | Standard specification for clinical XML DTDs in healthcare |
| --- | --- |
| Brief name | E2185-02 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E2182.htm?E+mystore |
| Based on |  |
| Descriptions | This guide provides a compendium of information for the use of E2183 XML DTDs within health care. This guide describes design considerations, the architecture of the DTDs, and implementing systems using the E2183 DTDs. |
| Used_in |  |
| Category | Clinical data structure |
| Others |  |
| Relevance | 70 |

| Name | Standard guide on security framework for healthcare information |
| --- | --- |
| Brief name | E2085-00a |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E2085.htm?E+mystore |
| Based on |  |
| Descriptions | Describes a framework for the protection of healthcare information. It addresses both storage and transmission of information. |
| Used_in |  |
| Category | Security protection |
| Others | It makes use of well-known security algorithms such as SHA-1, triple-DES and others. |
| Relevance | 90 |

| Name | Standard guide for identification and establishment of a quality assurance program for medical transcription |
| --- | --- |
| Brief name | E2117-00 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E2117.htm?E+mystore |
| Based on |  |
| Descriptions | It establishes a quality assurance program for dictation, medical transcription, and related processes. Quality assurance is necessary to ensure the accuracy of healthcare documentation. |
| Used_in |  |
| Category | Healthcare documentation |
| Others | This guide establishes essential and desirable elements for quality healthcare documentation, but it is not purported to be an exhaustive list. |
| Relevance | 80 |

| Name | Standard guide for user authentication and authorization |
| --- | --- |
| Brief name | E1985-98 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1985.htm?E+mystore |
| Based on |  |
| Descriptions | This guide addresses the technical specifications for how to perform user authentication and authorization. The actual definition of who can access what is based on organizational policy. |
| Used_in |  |
| Category | Security protection |
| Others | These actions may include access to healthcare information documents, as well as, specific operations on those documents. |
| Relevance | 80 |

| Name | Standard guide for information access privileges to health information |
| --- | --- |
| Brief name | E1986-98 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1986.htm?E+mystore |
| Based on |  |
| Descriptions | This guide covers the process of granting and maintaining access privileges to health information. It directly addresses the maintenance of confidentiality of personal, provider, and organizational data in the healthcare domain. |
| Used_in |  |
| Category | Security protection |
| Others |  |
| Relevance | 80 |

| Name | Standard guide for individual rights regarding health information |
| --- | --- |
| Brief name | E1987-98 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E1987.htm?E+mystore |
| Based on |  |
| Descriptions | This guide outlines the rights of individuals, both patients and providers, regarding health information and recommends procedures for the exercise of those rights. |
| Used_in |  |
| Category | Individual rights |
| Others | This guide is intended to amplify Guide E1869. |
| Relevance | 70 |

| Name | Standard Specification for Authentication of Healthcare Information Using Digital Signatures |
| --- | --- |
| Brief name | E2084-00 |
| Organization | ASTM |
| Url | http://www.astm.org/cgi-bin/SoftCart.exe/DATABASE.CART/REDLINE_PAGES/E2084.htm?E+mystore |
| Based on |  |
| Descriptions | This specification covers the use of digital signatures to provide authentication of healthcare information, as described in Guide E 1762. It describes how the components of a digital signature system meet the requirements specified in Guide E 1762. |
| Used_in |  |
| Category | Security protection |
| Others | This includes specification of allowable signature and hash algorithms, management of public and private keys, and specific formats for keys, certificates, and signed healthcare documents. |
| Relevance | 90 |

| Name | Interoperability and compatibility in messaging and communication standards -- Key characteristics |
| --- | --- |
| Brief name | ISO/TR 18307 |
| Organization | ISO |
| Url | http://www.iso.ch/iso/en/CatalogueDetailPage.CatalogueDetail?CSNUMBER=33396 |
| Based on |  |
| Descriptions | Describes a set of key characteristics to achieve interoperability and compatibility in trusted health information interchange between communicant application systems. |
| Used_in |  |
| Category | Health informatics |
| Others | The key characteristics describe inter-application interoperability needs of the healthcare community, in particular the subject of care, the healthcare professional/caregiver, the healthcare provider organization, its bussiness units and the integrated data |
| Relevance | 80 |

| Name | Logical Observation Identifiers Names and Codes |
| --- | --- |
| Brief name | LOINC |
| Organization | Regenstrief Institute |
| Url | http://aurora.regenstrief.org/doc/HL7/LOINC/loinman1.html |
| Based on |  |
| Descriptions | The purpose of the LOINC database is to facilitate the exchange and pooling of results, such as blood hemoglobin, serum potassium, or vital signs, for clinical care, outcomes management, and research. |
| Used_in | US healthcare framework |
| Category | Coding identifiers |
| Others | The Regenstrief Institute provides mapping utility called the Regenstrief LOINC Mapping Assistant (RELMA) to facilitate searches through the LOINC database. |
| Relevance | 80 |

| Name | Clinical Context Object Workgroup Version 1.5 |
| --- | --- |
| Brief name | CCOW V1.5 |
| Organization | HL7 |
| Url | http://www.hl7.org/special/Committees/ccow_sigvi.htm |
| Based on | HTTP, XML |
| Descriptions | CCOW V1.0 defined the overall technology-neutral context management architecture (CMA), a core set of data definitions, rules for application user interfaces, and the translation of the CMA to Microsoft’s COM/ActiveX technology. |
| Used_in |  |
| Category | Data interhange |
| Others | This version also support technology mapping to SOAP. |
| Relevance | 90 |

| Name | H.323 Packet-based multimedia communications systems |
| --- | --- |
| Brief name | H.323 System |
| Organization | ITU-T |
| Url | http://www.itu.int/rec/recommendation.asp?type=folders&parent=T-REC-H.323 |
| Based on |  |
| Descriptions | H.323 is a videoconferencing system over packet networks (IP in particular) that comprises the following ITU-T Recommendations: H.323, H.225.0, H.245, H.246, H.283, H.235, H.341, H.450 Series, H.460 Series, and H.500 Series. |
| Used_in | Videoconferencing, VoIP |
| Category | Videoconferencing |
| Others |  |
| Relevance | 100 |

| Name |  |
| --- | --- |
| Brief name |  |
| Organization |  |
| Url |  |
| Based on |  |
| Descriptions |  |
| Used_in |  |
| Category |  |
| Others |  |
| Relevance |  |

| Name |  |
| --- | --- |
| Brief name |  |
| Organization |  |
| Url |  |
| Based on |  |
| Descriptions |  |
| Used_in |  |
| Category |  |
| Others |  |
| Relevance |  |

| Name |  |
| --- | --- |
| Brief name |  |
| Organization |  |
| Url |  |
| Based on |  |
| Descriptions |  |
| Used_in |  |
| Category |  |
| Others |  |
| Relevance |  |